## Slide 1: Architectural Acoustics
Jieun Yang (j.yang3@tue.nl) Assistant professor, Building Acoustics group
Week 5: Building Acoustics
Lecture B.1

## Slide 2: Introduction: Building Acoustics
https://images.app.goo.gl/47SBr2x1Vzd8stFf8
Architectural Acoustics
Fundamentals of Acoustics
Environmental Acoustics
Building Acoustics
Room Acoustics
 Outdoor environment
 Indoor environment

## Slide 3: Introduction: Building Acoustics
Sound waves in isotropic solids
Building Acoustics
Sound reduction through multiple surfaces and ducts
Flanking sound transmission
Lecture B.1 (Chapter 10)
Lecture B.2 (Chapter 14)
Lecture B.3 (Vigran Chapter 9)

## Slide 4: Chapter 10. Sound waves in isotropic solids
[Recall] Wave propagation in air
Motion of particles in direction of
wave propagation (longitudinal wave)
Pressure
where is sound speed [m/s]
Velocity components
(in cartesian coordinate)
, , [m/s]
[N/]
Consider 1-D propagation along x-axis:

## Slide 5: Chapter 10. Sound waves in isotropic solids
Q: Why only longitudinal waves in fluid media?
 Fluids do not have enough resistive force (or restoring force) to generate transverse waves
Solid
(e.g. metal, glass, wood)
Gas
(e.g. air)
Liquid
(e.g. water)
Transverse / shear
Fluids

## Slide 6: Chapter 10. Sound waves in isotropic solids
Waves in unbounded solids
Waves in plates and bars
Waves in elastic medium  Elastic waves

## Slide 7: Chapter 10. Sound waves in isotropic solids
Q: Why do we learn this?
Air  solid (wall)  air
Solid (floor)  air
Wall
Source room
Receiving room
Floor/Ceiling
Source room
Receiving room

## Slide 8: Chapter 10. Sound waves in isotropic solids
https://images.app.goo.gl/bHcEPZfFk5vtdsMY9
https://images.app.goo.gl/fAXyfWpFLH5nYQX27
Q: Why do we learn this?

## Slide 9: 10.1 Sound waves in unbounded solids
Wave propagation in isotropic solids
Chapter 3.3.2 Isotropic solids
Displacement vector
Mass density []
(x direction)
(y direction)
(z direction)
Force equilibrium (x direction):
(z+dz)
(x+dx)
(y+dy)
(y)
(z)
(x)

## Slide 10: 10.1 Sound waves in unbounded solids
Wave propagation in isotropic solids
where
Lame constants
For homogeneous, isotropic, elastic solids,
(x direction)
(y direction)
(z direction)
(x direction)
Similarly,
(y direction)
(z direction)

Wave equation in isotropic elastic solid

## Slide 11: 10.1 Sound waves in unbounded solids
Wave propagation in isotropic solids
Plane waves propagating in the x-direction



Equation (10.1)
wave propagating direction
L
T
T
Plane waves propagating in the x-direction in air
Displacement vector
Mass density []

## Slide 12: 10.1 Sound waves in unbounded solids
Wave propagation in isotropic solids
One longitudinal wave (compressional wave)
Two transverse waves (shear waves)
 Motion of particles in direction of wave propagation
 Motion of particles perpendicular to wave propagation
Animations from https://nojigon.webs.upv.es/simulations_waves.php
x
y
z
propagating direction
x
y
z
x
y
z
propagating direction
propagating direction
L
T
T

## Slide 13: 10.1 Sound waves in unbounded solids
Wave speeds
Wave equation in air
Wave equations in solids
Sound velocity in air: 343 [m/s]
Longitudinal wave speed
Transverse wave speed
Lame constants
Mass density

## Slide 14: 10.1 Sound waves in unbounded solids
Torsional wave (“twisting” wave)
https://commons.wikimedia.org/wiki/File:Wavemachine.gif
Torsional mode
Transverse mode
Wave
propagation
Wave
propagation
https://images.app.goo.gl/fexSC13FyqGrqUMY8
original shape
deformed
https://youtu.be/rIzjnER4GxQ

## Slide 15: 10.2 Reflection and refraction, Rayleigh wave
[Recall] Interface of two fluid media:
Snell’s law
: sound speed in medium 1
: sound speed in medium 2
Continuity of p and normal velocity component vn
Two additional waves to fulfill boundary conditions (BCs)
: Reflected and transmitted wave
Medium 1
Medium 2
Transmitted or refracted wave
Reflected wave
Incident wave

## Slide 16: 10.2 Reflection and refraction, Rayleigh wave
Interface of two solid media:

## Slide 17: 10.2 Reflection and refraction, Rayleigh wave
Interface of two solid media
(1) Particle vibrations of the incident wave are parallel to the xy plane
: Continuity of displacement components and stresses (σxx and σxy)
Longitudinal incident wave
Medium 1
Medium 2
1T
Transverse incident wave
(parallel to the plane)
y
x
 Mode conversion
Medium 1
Medium 2
y
x
1L
1T’
1L’
2L
2T
L
T
T
2L
2T
1T’
1L’
Fluid-fluid case
Notes: Example: thick concrete + steel

## Slide 18: 10.2 Reflection and refraction, Rayleigh wave
Medium 1
Medium 2
y
x
1T
2T
1T’
Interface of two solid media:
(2) Particle vibrations of the incident wave are perpendicular to the xy plane
: Continuity of displacement component and stresses σxz
Transverse incident wave
(perpendicular to the plane)
 No mode conversion
L
T
T

## Slide 19: 10.3 Wave in plates and bars
What we are going to study now
Waves in media of finite dimension
Most practical structures in building acoustics  Plates & Bars
Boundary
Boundary
  Bending waves
  Extensional waves
What we learned so far
Elastic waves in infinite media
Reflection and transmission of waves at an interface
Incident waves
Propagating wave modes
Longitudinal, transverse waves
Interference of reflections

## Slide 20: 10.3 Wave in plates and bars
Wave equation
Extensional waves
: cross-sectional area []
: Young’s modulus [Pa]
: Mass density []
: Displacement vector
In a plate,
= Poisson’s ratio (0 < < 0.5)
Elastic deformation: extension and contraction
(Hooke’s law)
In a bar,
Force equilibrium (x direction):
: Longitudinal wave
in infinite media
Wave propagation

## Slide 21: 10.3 Wave in plates and bars
Propagation direction
Quasi-longitudinal wave
Symmetric along the centerline of the bar or plate
Wave characteristics
Extensional wave
Extensional waves
Wave speeds
In bars
In plates
Animation from https://nojigon.webs.upv.es/simulations_waves.php
Extensional wave equation
In a bar
In a plate
: Young’s modulus [Pa]
: Mass density []
: Poisson’s ratio
Purely longitudinal wave

## Slide 22: 10.3 Wave in plates and bars
Bending waves
Wave equation
Moment equilibrium:
Force equilibrium (y direction):
: Specific mass
: Thickness
In a plate,
In a bar,
: Bending stiffness
Wave propagation

## Slide 23: 10.3 Wave in plates and bars
Bending waves
Assume plane harmonic wave solution
Substitute into


For wave equations for a plate,
Substitute into

## Slide 24: 10.3 Wave in plates and bars
Bending wave speed
Extensional wave speed
,
http://resource.isvr.soton.ac.uk/spcg/tutorial/tutorial/Tutorial_files/Web-further-dispersive.htm
Two non-propagating waves
Exponential decay
Bending waves
Two propagating waves
Dependent on frequency (dispersive)
Wave speed (m/s)
0.1 m brickwork
B = 7×105 N∙m2
m’ = 1900×0.1 kg/m2
Bending wave speed
Non-dispersive case

## Slide 25: 10.3 Wave in plates and bars
Bending waves
Wave characteristics
Asymmetric along the centerline of the bar or plate
Transverse type but not purely transverse
Dispersive wave
Only bending waves radiate sound! the plate moves in perpendicular direction to air, thus causing interaction with the nearby air molecules
Animation from https://nojigon.webs.upv.es/simulations_waves.php

## Slide 26: 10.3 Wave in plates and bars
https://www.youtube.com/watch?v=diLnyeQ6W7g
Extensional and bending wave propagation in a plate
Incident waves
Interference of reflections
Propagating wave
Longitudinal, transverse waves
  Bending waves (flexural wave)
  Extensional waves

## Slide 28: 10.3 Wave in plates and bars
Bending waves radiate sound in the frequencies above critical frequency
Critical (or characteristic) frequency ωc (when c = cB)
Sound radiation from a vibrating plate
https://www.youtube.com/watch?v=OC7_zpyqCrU&t=1s
Video link in the previous slide:
Coincidence condition
Frequency
Wave speed
Speed of bending waves
If ,
No solution for exists
 No sound radiation
Critical frequency
x

Sound speed in air c

## Slide 29: 10.3 Wave in plates and bars
cB = 1.5 c
cB = 1.1 c
For cB > c (or λB > λ or ω > ωC),
 plane wave radiation that satisfies
https://www.acs.psu.edu/drussell/Demos/EvanescentWaves/EvanescentWaves.html
Sound radiation from a vibrating plate

## Slide 30: 10.3 Wave in plates and bars
For cB < c (or λB < λ or ω < ωC),
 no radiation of sound
cB = 0.95 c
cB = 0.75 c
Sound radiation from a vibrating plate
https://www.acs.psu.edu/drussell/Demos/EvanescentWaves/EvanescentWaves.html

## Slide 31: 10.3 Wave in plates and bars
Sound radiation from a vibrating plate
Bending waves radiate sound in the frequencies above critical frequency
: Specific mass
: Plate thickness
: Bending stiffness
: Young’s modulus [Pa]
: Mass density []
: Poisson’s ratio

## Slide 32: 10.3 Wave in plates and bars
Sound radiation from a vibrating plate
where
Critical frequency of a plate
Ice layer of thickness A
Ice layer of thickness B
Case: Thickness B
 thickness = 1.3 cm
Data from edX course RWTHTUMx CA101.1x: Fundamentals of Communication Acoustics
Case: Thickness A
 thickness = 7.6 cm
Estimation of the ice layer thickness
Raw signal
Fourier-transformed

## Slide 33: Summary
Sound waves in isotropic solids
Lecture B.1 (Chapter 10)
Waves in solid: 1 longitudinal wave + 2 transverse waves
Torsional wave: another type of transverse wave
Wave reflection and transmission at an interface
Waves in plates and bars  Extensional wave & Bending wave
Bending wave
  Dispersive wave (high frequency is faster than low frequency)
  Radiates sound above critical frequency

## Slide 34
https://youtu.be/WQXLsegiA7g
Video link in the next slide: